| ELECTRICAL MATERIAL TAKE OFF ( M.T.O ) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 03 |  |  |  |  |  |  |
| 02 |  |  |  |  |  |  |
| 01 |  |  |  |  |  |  |
| 00 | NOV.2021 | Issued for Comment |  | e.a | a.d/f.v | f.a |
| Rev. | Date Of Issue | Description |  | Prepared | Checked | Approved |

LIST OF REVISED PAGES

| PAGE | 00 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | REMARKS | PAGE | 00 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ● |  |  |  |  |  |  |  |  | 41 |  |  |  |  |  |  |  |  |  |
| 2 | ● |  |  |  |  |  |  |  |  | 42 |  |  |  |  |  |  |  |  |  |
| 3 | ● |  |  |  |  |  |  |  |  | 43 |  |  |  |  |  |  |  |  |  |
| 4 | ● |  |  |  |  |  |  |  |  | 44 |  |  |  |  |  |  |  |  |  |
| 5 | ● |  |  |  |  |  |  |  |  | 45 |  |  |  |  |  |  |  |  |  |
| 6 | ● |  |  |  |  |  |  |  |  | 46 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  | 47 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  | 48 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  | 49 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  | 50 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  | 51 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  | 52 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  | 53 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  | 54 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  | 55 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  | 56 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  | 57 |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  | 58 |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  | 59 |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  | 60 |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  | 61 |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  | 62 |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  | 63 |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  | 64 |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  | 65 |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  | 66 |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  | 67 |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  | 68 |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  | 69 |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  | 70 |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  | 71 |  |  |  |  |  |  |  |  |  |
| 32 |  |  |  |  |  |  |  |  |  | 72 |  |  |  |  |  |  |  |  |  |
| 33 |  |  |  |  |  |  |  |  |  | 73 |  |  |  |  |  |  |  |  |  |
| 34 |  |  |  |  |  |  |  |  |  | 74 |  |  |  |  |  |  |  |  |  |
| 35 |  |  |  |  |  |  |  |  |  | 75 |  |  |  |  |  |  |  |  |  |
| 36 |  |  |  |  |  |  |  |  |  | 76 |  |  |  |  |  |  |  |  |  |
| 37 |  |  |  |  |  |  |  |  |  | 77 |  |  |  |  |  |  |  |  |  |

TABLE OF CONTENTS

1.REFERENCE	4

2. NOTE	4

3.MATERIAL LIST	4

- REFERENCE:

- ELECTRICAL POWER NETWORK DISTRIBUTION PROJECT DOCUMENTATION

- DOCUMENT AS REEFERED

# NOTED:

- This document shall be used just for ELECTRICAL System.

- MATERIAL LIST:

| No. | Item | Unit | Quantity |
| --- | --- | --- | --- |
| 1 | 33 KV OUTGOING CELL 1250 A , ABB UNIGEAR TYPE ZS2 WITH ALL MECHANICAL & ELECTRICAL EQUIPMENT ( REFER TO SWG-101A/B & 33KV SWITCHGEAR DATA SHEET & SPEC. ) | EA | 8 |
| 2 | 33 KV BAS BRIDGE WITH ALL ACCESORRY & FAXIABLE JOINTS IF NEEDED ( REFER TO SWG-101A/B & 33KV BUSDUCT DATA SHEET & SPEC. ) | EA | 2 |
| 3 | 33 KV CABLE 1*240 MM2 ( REEFER TO ELECTRICAL CABLE LIST ) | MT | 1200 |
| 4 | 33 KV INDOOR CONECTION KIT ( REFER TO ELECTRICAL CABLE LIST ) | SET | 10 |
| 5 | LV INCOMING CELL 400 V , 4000 A , 50 HZ WITH ALL MECHANICAL & ELECTRICAL EQUIPMENT ( REFER TO SWG-301C/D ) | EA | 1 |
| 6 | LV OUTGOING CELL 400 V , 1250 A , 50 HZ WITH ALL MECHANICAL & ELECTRICAL EQUIPMENT ( REFER TO SWG-301A/B/C/D ) | EA | 2 |
| 7 | LV OUTGOING CELL 400 V , 630 A , 50 HZ WITH ALL MECHANICAL & ELECTRICAL EQUIPMENT ( REFER TO SWG-301A/B/C/D ) | EA | 2 |
| 8 | LV BASDUCT 400V, 4000A COMPLETELY WITH STRIGHT & ELBO PARTS & FLEXIALE JOINTS & OTHER ACCESORRY IF NEEDED ( REFER TO BUSDUCT DATA SHEET & SPEC. ) | EA | 5 |

| No. | Item | Unit | Quantity |
| --- | --- | --- | --- |
| 9 | MODIFICATION OF LOGIC & DEVICES FOR LV SWITCHGEAR ACCORDING TO THE NEW DOCUMENTATION ( REFER TO SWG-301A/B ) | EA | 1 |
| 10 | MODIFICATION OF LOGIC & DEVICES FOR LV SWITCHGEAR ACCORDING TO THE NEW DOCUMENTATION ( REFER TO SWG-301C/D ) | EA | 1 |
| 11 | 10 * 2.5 MM2 CABLE ( ACCORDING TO CABLE LIST ) | MT | 850 |
| 12 | LV BUSDUT ELBO 400V , 4000A ) REFER TO MAIN SUBSTATION EQUIPMENT LAYOUT ) | SET | 3 |
| 13 | EMERGENCY SWITCHGEAR 400V , 1250 A COMPLETELY ( REFER TO ESWG-301E & ESWG-401E ) | SET | 1 |
| 14 | LV SWICHGEAR 400V , 4000 A COMPLETELY ( REFER TO SWG-401A/B) | SET | 1 |
| 15 | LV SWICHGEAR 400V , 4000 A COMPLETELY ( REFER TO SWG-401C/D ) | SET | 1 |
| 16 | CABLE GLAND M63 , METAL , ARMOURRED ( REFER TO CABLE LIST ) | NO | 40 |
| 17 | 1* 150 MM2 ( REEFER TO ELECTRICAL CABLE LIST ) | MT | 1200 |